Inspectors General Checklist

| AIRCRAFT RESCUE AND FIRE FIGHTING (ARFF) 6500 |  |  |  |  |
| --- | --- | --- | --- | --- |
| This checklist applies to all Aircraft Rescue and Fire Fighting units within the Marine Air Wing and Marine Corps Installations Command. |  |  |  |  |
| Subject Matter Expert: CWO4 Joshua Zwharlandrum/MGySgt Kurtis Snider |  |  | Date. |  |
| (DSN) 278-3201/8069 (COML) 703-432-3201/8069 |  |  | Inspector Total Questions: 63 |  |
| Revised: 4/ 21/ 2025 |  |  | Final Assessment Discrepancies: Findings: |  |
| Overall Comments: Place Here |  |  |  |  |
| Subsection 1 – ADMINISTRATION |  |  |  |  |
| 0101 |  | Are sufficient ARFF personnel assigned to perform all support and operational functions? Are appointment letters signed by the appropriate personnel for those assigned billets? Reference: Reference: MCO11000.11A, chap 5, par 12c, fig 5-4 |  |  |
| Result |  | Comments |  |  |
| 0102 |  | Does the ARFF unit maintain an active airworthiness account to ensure the most updated NATOPS US. Navy Aircraft Rescue and Firefighting manuals 00-80R-14; 00-80R-14-1; 00-80R-20 are being utilized? Reference: NAVAIR 00-80R-14, preface, par 3 |  |  |
| Result |  | Comments |  |  |
| 0103 |  | Are the required ARFF Ready Reference publications readily available as required: Air Force Technical Order 00-105E-9, Aircraft Signals NATOPS Manual (NAVAIR 00-80T-113), NAVAIR 00-80R-14 Reference: NAVAIR 00-80R-14, chap 2, par 2.10 |  |  |
| Result |  | Comments |  |  |
| 0104 |  | Has the unit completed the following documents: risk assessment, standard of cover, self-assessment, and strategic plan Reference: MCO 11000.11A, chap 2, par 2. |  |  |
| Result |  | Comments |  |  |
| 0105 |  | Are automated Marine Corps Fire Incident Reporting System (MCFIRS) reports submitted for each reportable event within 60 days as required? Reference: MCO 11000.11A, chap 9, par 4.b & 4.d. |  |  |
| Result |  | Comments |  |  |
| 0106 |  | Is a daily journal kept on file for a period of three years? Reference: NAVAIR 00-80R-14, chap 5, par 5.10.3 |  |  |
| Result |  | Comments |  |  |
| Subsection 2 – TRAINING |  |  |  |  |
| 0201 |  | Is a permanent all-weather training ground for actual burn practice and simulated emergency operations available? Reference: NAVAIR 00-80R-14, chap 5, par 5.8.6.4. |  |  |
| Result |  | Comments |  |  |
| 0202 |  | Does the training program include training fires and realistic forcible entry into and rescue from burning aircraft? Reference: NAVAIR 00-80R-14, chap 5, par 5.8.6 |  |  |
| Result |  | Comments |  |  |
| 0203 |  | Are live fire and rescue drills being conducted in accordance with the reference? Reference: NAVAIR 00-80R-14, chap 5, par 5.8.6 |  |  |
| Result |  | Comments |  |  |
| 0204 |  | Are emergency vehicle driver/ operators properly licensed in accordance with the reference? Reference: NAVAIR 00-80R-14, chap 5, par 5.8.1 |  |  |
| Result |  | Comments |  |  |
| 0205 |  | Does the unit appropriately budget for training funds? Reference: NAVAIR 00-80R-14, chap, par 5.8.7 |  |  |
| Result |  | Comments |  |  |
| 0206 |  | Does ARFF conduct cross-training with the structural fire branch in garrison/ theater operations when applicable? Reference: NAVAIR 80-80R-14, chap 5, par 5.1 |  |  |
| Result |  | Comments |  |  |
| 0207 |  | Are ARFF personnel being trained in accordance with the applicable T&R syllabi to meet Core Model Minimum Requirements (CMMR)? Reference: NAVMC 3500.114A, chap 2, par 2.3.2; |  |  |
| Result |  | Comments |  |  |
| 0208 |  | Are all deferrals authorized by the unit commanding officer, properly documented, and entered M-SHARP? Reference: NAVMC 3500.14E, chap 2, Par 2.14.1.1 & 4.0.2.2.; |  |  |
| Result |  | Comments |  |  |
| 0209 |  | Are Electronic Aviation Training Forms (EATF) being completed in accordance with the reference? Reference: NAVMC 3500.14F chap 2 para 2.8.1 |  |  |
| Result |  | Comments |  |  |
| 0210 |  | Are Individual Performance Record audits and updates conducted when individuals report to a unit, annually within 30 days of birthday, and upon transfer from a unit? Reference: NAVMC 3500.14F, chap 2, par 2.16 |  |  |
| Result |  | Comments |  |  |
| 0211 |  | Are all individual T&R certifications, qualifications and designations properly documented in the Individual Performance Records, logged in to M-SHARP? Reference: NAVMC 3500.14F, chap 2, par 2.12.5 |  |  |
| Result |  | Comments |  |  |
| 0212 |  | Is the proficiency status of individual core and mission skills, maintained and monitored in M-SHARP to ensure proper scheduling and/or logging appropriately? Reference: NAVMC 3500.14F, chap 2, par 2.5.3 |  |  |
| Result |  | Comments |  |  |
| 0213 |  | Does the unit maintain at least one trained representative who has successfully completed the M-SHARP administrators’ course? Reference: NAVMC 3500.14F, chap 2, par 2.17.5.b |  |  |
| Result |  | Comments |  |  |
| 0214 |  | Does the ARFF possess, or have access to, the equipment, computers, publications, supplies, and training aids necessary to conduct required knowledge training and performance evaluations? Reference: DoD 6055.06-M, chap 3, par C3.3.6 |  |  |
| Result |  | Comments |  |  |
| 0215 |  | Is ARFF actively participating in the DoD F&ES certification program in accordance with the reference? Reference: DoDM 6055.06 |  |  |
| Result |  | Comments |  |  |
| 0216 |  | Are IFSAC and Pro-Board certifications that are obtained from non-DoD entities sent to the DoD Administration center to be maintained in the DoD Look-up System? Reference: DoD F&ES Certification Program Procedural Guide, chap 6, par 6.1. |  |  |
| Result |  | Comments |  |  |
| Subsection 03 – LOGISTICS |  |  |  |  |
| 0301 |  | Does the ARFF unit maintain required emergency rescue equipment to accomplish the unit’s mission? Reference: NAVAIR 00-80R-14, chap 4, par 4.2.1 and 4.2.2 |  |  |
| Result |  | Comments |  |  |
| 0302 |  | Are compressed cylinders for ARFF apparatus stored, maintained, and tested? Reference: MCO 10330.2D; 49 CFR 178.35 |  |  |
| Result |  | Comments |  |  |
| 0303 |  | Does the ARFF unit maintain a minimum ready stock of one vehicle/equipment load of AFFF for each manned vehicle assigned and 1000 lbs of halogenated clean agent? Reference: NAVAIR 00-80R-14, chap 3, par 3.1.4 |  |  |
| Result |  | Comments |  |  |
| 0304 |  | Is each assigned firefighter outfitted with a complete set(s) of personal protective equipment; to include trousers, coat, gloves, extrication gloves, flash hood shroud, footwear, helmet, SCBA mask, and regulator? Reference: NAVAIR 00-80R-14, par 3.5.1 |  |  |
| Result |  | Comments |  |  |
| 0305 |  | Is each fire fighter outfitted with 2 sets of ARFF department uniforms (warming jacket, flight suit, and boots)? Reference: MCO 11000.11A |  |  |
| Result |  | Comments |  |  |
| 0306 |  | Are water penetration barrier evaluations of ARFF structural firefighting gear conducted and documented for the life of the equipment? Reference: NFPA 1851, chap 12, par 12.3 |  |  |
| Result |  | Comments |  |  |
| 0307 |  | Are advanced inspections of ARFF personal protective gear conducted and documented for the life of the equipment? Reference: NFPA 1851, chap 6, par 6.3 |  |  |
| Result |  | Comments |  |  |
| 0308 |  | Are sufficient filter-type breathing masks/ respirator and disposable protective coveralls suits available and in compliance for use by personnel involved in mop-up, salvage or standby operations at crash sites involving composite materials? Reference: NAVAIR 00-80R-14, chap 6, Par 6.7.3.4., 6.7.5.5., & 6.7.6.5. |  |  |
| Result |  | Comments |  |  |
| 0309 |  | Does the ARFF unit have a fire extinguisher inspection, maintenance, and hydrostatic test program and are records maintained for each extinguisher? Reference: NAVAIR 00-80R-14, chap 3, Par 3.3.3. |  |  |
| Result |  | Comments |  |  |
| 0310 |  | Are serviceability inspections performed and maintenance conducted in accordance with manufactures recommendation and documented on all SCBAs? Reference: OSHA 29 CFR, par 1910.134 (c)(1)(v) |  |  |
| Result |  | Comments |  |  |
| 0311 |  | Are there any SCBA cylinders in service past their Hydrostatic Test date? Reference: 49 CFR 180.205, 49 CFR 180.209 |  |  |
| Result |  | Comments |  |  |
| 0312 |  | Are quarterly air samples taken on all compressors designed to fill SCBA air cylinders and is the Grade “D” air sample certificate current and maintained for the life of the compressor? Reference: OSHA 29 CFR, par 1910.134 (i) (1)(ii) |  |  |
| Result |  | Comments |  |  |
| 0313 |  | Are pre-operational inspections performed on all ARFF equipment? Reference: NAVAIR 00-80R-14, chap 4 par 4.1.1.1 |  |  |
| Result |  | Comments |  |  |
| 0314 |  | Is preventative maintenance performed properly on all rescue equipment in accordance with technical manuals? Reference: MCO P4790.2, chap 3 par 2.C.(3). |  |  |
| Result |  | Comments |  |  |
| 0315 |  | Are tools, equipment, and SCBA’s that are carried within enclosed seating areas of fire apparatus and support vehicles secured by a positive mechanical means of holding the items in a stowed position? Reference: NFPA 1500, chap 6, par 6.1.5 |  |  |
| Result |  | Comments |  |  |
| Subsection 04 – HEALTH AND SAFETY 0401; Does the ARFF unit have a written safety and health program? Reference: MCO 11000.11A, chap 7, par 7.a. Result; Comments. 0402; Does the units’ standard operating procedure address rehabilitation operations procedures/processes for ARFF members during incident scene operations, post incidents and training events? Reference: NFPA1584, chap 6, Par 6.1. Result; Comments. 0403; Does the rehabilitation plan address the resourcing of support required to perform rehabilitation operations.? Reference: NFPA1584, chap 6, par 6.1. Result; Comments. |
| 0404 |  | Does the activity have a Respiratory Protection Program? Reference: OPNAVINST 5100.19/5100.23 series |  |  |
| Result |  | Comments |  |  |
| 0405 |  | Has the Respiratory Protection Program Manager completed the Navy RPPM Course A-493-0072, OSHA training Institute Course 2220, 2225, or a 32 hour course meeting requirements outlined in OSHA 29 CFR 1910.134? Reference: NAVMC Directive 5100.8, page 13-12, sec 13008, par 3 |  |  |
| Result |  | Comments |  |  |
| 0406 |  | Does ARFF personnel annually train in the procedures for when to use and how to select the proper respirator, emergency evacuation, proper face piece fit, cleaning and storage, filter/cartridge change, service life, and inventory of all respirators? Is this training documented? Reference: OSHA 29 CFR, par 1910.134 (k); MCO 5100.29C |  |  |
| Result |  | Comments |  |  |
| 0407; Is quantitative fit testing conducted and results recorded for all SCBA respirator users as required? Reference: NFPA 1500, chap 7, par 7.13.4. Result; Comments. 0408; Are ARFF ensembles advanced cleaned and IAW the reference? Reference: NFPA 1851, chap 7.3. Result; Comments. 0409; Does the ARFF unit provide initial and annual training for exposure reports as defined in 1910.1020(c)(5)(i), that contains a description of the ARFF Marines duties while being exposed, level of anticipated exposure level, and a description of PPE used? Reference: OSHA 29 CFR 1910.1020 (g) (1). Result; Comments. Subsection 05 – OPERATIONS 0501; When required to man the immediate response alert position, are ARFF personnel assigned no more than 8 total hours in any one 24-hour period? Reference: NAVAIR 80-80R-14, chap 5, par 5.6.2. Result; Comments. |
|  |  | Does the units Standard Operating Procedures establish specific rules, regulations, and procedures relating to the operation of ARFF vehicles operating in emergency and standard driving mode? Reference: NFPA 1500, chap 6, par 6.2.7 |  |
| Result |  | Comments |  |  |
| 0503 |  | Is the ARFF unit supported with a dedicated emergency fire and rescue radio network? Reference: NAVAIR 00-80R-14, chap 5, par 5.9.1 |  |  |
| Result |  | Comments |  |  |
| 0504 |  | Are fixed based stations on the ARFF network installed in the air traffic control tower, aircraft fire and rescue alarm room, and the structural fire station? Reference: NAVAIR 00-80R-14, chap 5, par 5.9.1.1 |  |  |
| Result |  | Comments |  |  |
| 0505 |  | Do all ARFF vehicles and support vehicles have mobile or portable transceivers? Reference: NAVAIR 00-80R-14, chap 5, par 5.9.1.2 & .3 |  |  |
| Result |  | Comments |  |  |
| 0506 |  | Is a primary Aircraft Emergency Alarm Intercommunication System (direct wire) installed in the air traffic control tower, at each ARFF station, structural fire organization alarm room and airfield operations duty office? Reference: NAVAIR 00-80R-14, chap 5, par 5.9.2.1 |  |  |
| Result |  | Comments |  |  |
| 0507 |  | Does the unit maintain a uniform alpha-numeric grid system and are maps available onboard all ARFF vehicles and located at all activities on the primary or secondary communications systems? Reference: NAVAIR 00-80R-14, chap 5, par 5.10.7 |  |  |
| Result |  | Comments |  |  |
| 0508 |  | Are routine inspections of the personal protective ensembles conducted? References: NAVAIR 00-80R-14, chap 3, par 3.5.2.7 |  |  |
| Result |  | Comments |  |  |
| 0509 |  | Does the activity maintain an Aircraft Fire/Mishap Response Plan and pre-mishap plans which includes the operational and functional details for on-station and off-station incidents? Reference: NAVAIR 00-80R-14, chap 5, par 5.10.6 |  |  |
| Result |  | Comments |  |  |
| 0510 |  | Can the ARFF unit demonstrate that they can meet the aggregate response time, if not does the unit staff an immediate response alert position? Reference: NAVAIR 00-80R-14, chap 5, par 5.6.1 & 5.6.2 |  |  |
| Result |  | Comments |  |  |
| 0511 |  | Can the ARFF unit demonstrate their personnel accountability system during an emergency/simulated emergency response? Reference: NFPA 1561, chap 8, par 8.5 |  |  |
| Result |  | Comments |  |  |